**Minutes**

**Campus Facilities Committee Meeting**

**Email submission – November 10, 2023**

**Summary of project-**

**Summary of project-**

**SAF 2023-005**:    Remove the existing 2nd-floor main lobby entry doors.  Install a new revolving door two new exterior entry doors, and two new vestibule doors to the 2nd floor main lobby. Add one new swipe card access to one of the new doors.  Provide the capability for the two exterior entry doors and the revolving door to lock with one action for possible active shooter response.  Patch and repair the ceiling as needed at the main entry lobby.  Install new lights for the layout of the new doors.  Install a new exit light at the location.

The committee has voted in favor of endorsing the proposed project.

Please find Scott Rouse’s updated construction projects presentation attached.