**Minutes**

**Campus Facilities Committee Meeting**

**June 6, 2025**

Present:

Cristine Black, Michael Blanda, Gordon Bohmfalk, Chad Booth, Don Compton, Daniel Costello, Rosemary DeCree, Todd Engram,  Marla Erbin-Roesemann, Steven Herrera, Jodi Holschuh, Jamie Larson, Wendy McCoy, Brian McKay,  Henery Moreno, Brian Shanks, Gavin Steiger, Jeremy Stolfa, Diego Vacaflores Rivero, Scott Rouse, Chad Willis, and Amy Wong  
  
Absent:

Dan Alden, Todd Alman, Jayme Blaschke, Chad Booth, Matt Brooks,  Matthew Carmichael, Larry Chapa, Kevin Gilley, Reiko Graham, Mike Krzywonski, Douglas Morrish, Douglas Morrish, Colleen Myles, Pascuala Roque, Shorty Schwartz, Aaron Wallendorf

Voted via email: William Mattera, and William Kelemen

**SAF 2025-024 JCK 714 Data Center**

Maximize the space with as many cubicles that can reasonably fit with the room. Add fire suppression system to the room and remove the existing Haon fire suppression system. Create a new electrical room to encompass the electrical panels that will stay in place.  New electrical room to have a fire alarm strobe / born, door, frame, and finish hardware. Remove sub-panels in corners of the room that serve all the existing data racks and CRAC units. Remove pathways that are no longer used serving original data equipment and A/C units below the flooring system as necessary. Update HV/AC system to DDC. Remove security system from the room. Remove the A/C CRAC unties from within the room. Remove condensate lines to floor slab. Reprogramming one card reader at the room entry door so that people can enter the room between certain times of the day instead of the room being locked all day. Touch up and repaint walls. Install carpet and rubber base to match room 714B over the raised flooring system.

Endorsed by committee

**SAF 2025-030 JCK 980 Suite Renovation**

Remove wall and door entering room 980, install storefront & storefront door. Intent is to match

storefront on floors 3 & 10. Relocate door entering room 988 from the suite towards plan East. Align both lobby desks, relocate one wall outlet to where the door will be relocated. Remove wall between 985A & 985B. Remove one door, either at 985A or 985B.

Replace admin desks to match new furniture in offices. Intent is to match upgrades in 1080 with “signature height” privacy screens. Replace furniture in 915, 915A, & 915B. Electrical outlets will need to be relocated from wall shared between 985A & (85B.

Ceiling tile rework will be required in room 985 & 986. Light fixtures will need to be shifted in line within office 985. Fire alarm horn / strobe and sprinkler head will possibly need to be removed and or relocated with 985B. Carpet tile patches where required due to renovation to match existing carpet. Painting and patching new walks as required. Update HV/AC system within the suite from pneumatic to DDC controlled and add VAV boxes as required. Wall shared between 985 & 986 to be brought to deck with sheetrock on both sides and insulation.

Blanket insulation to be added above ceiling in 985 & 986. No work in offices: 982, 983, 984, & 987. No furniture needed in 982. No TV Monitors. No Card Readers.

Endorsed by committee

**Update on current construction projects (see attached PDF) –** Scott Rouse