Clinical Rotation Site:__________________________

Preceptor Printed Name(s):

___________________________

Microbiology Clinical Rotation

Competency Checklist

Student Name: _______________________

| Area | Specific requirements | Notes | Check off |
| --- | --- | --- | --- |
| Quality Control and Maintenance | Performs QC on routinely used microbiology reagents, media, and applicable instrumentation |  | ⃝ Completed ⃝ Not Applicable |
|  | Observes or performs preventative maintenance on microbe identification and blood culture instruments |  |  |
| Specimen Processing (except 2 week rotations) | State the sample types that are acceptable/rejection criteria for each type of culture or rapid test. | NO PROCESSING IF THIS IS A 2-WEEK ROTATION | ⃝ Completed ⃝ Not Applicable |
|  | Correctly identifies source identification and proper labeling |  |  |
|  | Appropriately streaks, inoculates, incubates, and/or packages the specimens according to procedure |  |  |
| Blood Cultures | Read/discuss principle of the instrument operation or test procedure reaction. |  | ⃝ Completed ⃝ Not Applicable |
|  | Load and unload blood culture bottles |  |  |
|  | Discuss and/or perform the procedure for processing and “calling” positive blood cultures |  |  |
| Microbial ID and Sensitivity | Discuss the methodology of the microbial identification and sensitivity system. |  | ⃝ Completed ⃝ Not Applicable |
|  | Successfully inoculate and read ID and sensitivity panels. |  |  |
|  | Recognize and troubleshoot results that are unexpected or unacceptable. |  |  |
| Gram Stains (except 2 week rotations) | Successfully completes a minimum of 5 respiratory, 5 blood culture, and 5 wound/misc gram stains) | NO GRAM STAINS IF THIS IS A 2-WEEK ROTATION | ⃝ Completed ⃝ Not Applicable |
| Plate Reading (only during 2 or 3 week rotations) | Discuss, observe, and participate in identifying pathogenic organisms in the following types of cultures: blood cultures, respiratory, gastrointestinal, urogenital, and miscellaneous sites such as wounds, CSF and other body fluids.) | NO PLATE READING DURING 1 WEEK ROTATIONS | ⃝ Completed ⃝ Not Applicable |
|  | Identify normal flora and differentiate normal flora from pathogens in each of culture types listed above. |  |  |
| Theory | Discuss the clinical significance of abnormal results obtained, correlating patient results as to possible disease and/or therapy states. |  | ⃝ Completed ⃝ Not Applicable |
| Special Procedures | Catalase, Coagulase, Staph or Strep Typing | ⃝ Completed ⃝ Not Available | Other/Notes: |
|  | Oxidase, Indole, PYR | ⃝ Completed ⃝ Not Available |  |
|  | Catarrhalis, Microdase, Cefinase disks | ⃝ Completed ⃝ Not Available |  |
|  | Wet mounts | ⃝ Completed ⃝ Not Available |  |
|  | MRSA screens | ⃝ Completed ⃝ Not Available |  |
|  | Kirby Bauer, Etest, etc. | ⃝ Completed ⃝ Not Available |  |
|  | Molecular Diagnostics (Cepheid, OptiGene, etc.) | ⃝ Completed ⃝ Not Available |  |
|  | Serology tests (Flu, Strep, RSV, etc.) | ⃝ Completed ⃝ Not Available |  |