Clinical Rotation Site:__________________________

Preceptor Printed Name(s):

___________________________

Hematology Clinical Rotation

Competency Checklist

Student Name: _______________________

| Area | Specific requirements | Notes | Check off |
| --- | --- | --- | --- |
| Quality Control and Maintenance | Performs QC on routinely used hematology and coagulation analyzers and coag centrifuge |  | ⃝ Completed ⃝ Not Applicable |
|  | Observes or performs preventative maintenance on hematology and coagulation analyzers |  |  |
|  | Evaluates Levey-Jennings charts for Westgard Rule violations |  |  |
|  | Troubleshoot QC violations in both hematology and coagulation |  |  |
| Blood Smears | Successfully prepares a minimum of 10 blood smears with feathered edges and evenly distributed cells |  | ⃝ Completed ⃝ Not Applicable |
| Specimen Acceptability | Discuss the reasons and follow-up procedures for rejection of samples according to department protocol. |  | ⃝ Completed ⃝ Not Applicable |
| Analyzer operation and Reporting | Read/discuss principle of the instrument operation or test procedure reaction. |  | ⃝ Completed ⃝ Not Applicable |
|  | Perform instrument start-up and/or shutdown. |  |  |
|  | Evaluates histograms, scatterplots, clot curves for accuracy |  |  |
|  | Discuss “critical” or “panic” values and reporting protocol |  |  |
|  | Discuss and observe LIS result entry. |  |  |
|  | Discuss and observe delta check protocol. |  |  |
| Theory | Discuss the clinical significance of abnormal results obtained, correlating patient results as to possible disease and/or therapy states. |  | ⃝ Completed ⃝ Not Applicable |
| Manual Differentials/ Cell Counts | Successfully perform a minimum of 15 “normal” manual differentials (blood or body fluid) |  | ⃝ Completed ⃝ Not Applicable |
|  | Successfully perform a minimum of 15 “abnormal” manual differentials (blood or body fluid) |  |  |
|  | Successfully performs a minimum of 3 body fluid cell counts according to laboratory procedure |  |  |
|  | Reviews criteria for pathology review of blood and body fluid smears |  |  |
| Special Procedures | Bone Marrow collection and smear preparation | ⃝ Completed ⃝ Not available | Other/Notes: |
|  | Reticulocyte Counts | ⃝ Completed ⃝ Not available |  |
|  | Erythrocyte sedimentation rate | ⃝ Completed ⃝ Not available |  |
|  | Malarial smear | ⃝ Completed ⃝ Not available |  |
|  | Sickle cell solubility | ⃝ Completed ⃝ Not available |  |
|  | Platelet function assay | ⃝ Completed ⃝ Not available |  |
|  | TEG | ⃝ Completed ⃝ Not available |  |
|  | Urinalysis (QC, dipstick, UA microscopics) | ⃝ Completed ⃝ Not available |  |