Clinical Rotation Site:__________________________

Preceptor Printed Name(s):

______________________________

General Clinical Rotation

Competency Checklist

Student Name: _______________________

| Area | Specific requirements | Notes | Check off |
| --- | --- | --- | --- |
| Quality Control and Maintenance | Performs QC on routinely used analyzers in all departments |  | ⃝ Completed ⃝ Not Applicable |
|  | Observes or performs preventative maintenance in all departments |  |  |
|  | Evaluates Levey-Jennings charts for Westgard Rule violations |  |  |
|  | Troubleshoot QC violations in all departments |  |  |
| Specimen Acceptability | Discuss the reasons and follow-up procedures for rejection of samples according to department protocol |  | ⃝ Completed ⃝ Venipuncture not performed at site |
|  | Successfully performs a minimum of 5 venipunctures |  |  |
| Urinalysis | Successfully performs a minimum of 15 urine microscopic analyses (TRY to get at least 10 with formed elements such as casts, WBCs, RBCs, crystals, bacteria, etc.) |  | ⃝ Completed ⃝ Not Applicable |
|  | Discuss correlation between instrument report and the microscopic results |  |  |
| Analyzer operation and Reporting | Read/discuss principle of the instrument operation or test procedure reaction. |  | ⃝ Completed ⃝ Not Applicable |
|  | Perform instrument start-up and/or shutdown. |  |  |
|  | Evaluates histograms, scatterplots, clot curves, chemistry reports, etc. for accuracy |  |  |
|  | Discuss “critical” or “panic” values and reporting protocol |  |  |
|  | Discuss and observe LIS result entry. |  |  |
|  | Discuss and observe delta check protocol. |  |  |
| Theory | Discuss the clinical significance of abnormal results obtained, correlating patient results as to possible disease and/or therapy states. |  | ⃝ Completed ⃝ Not Applicable |
| Special Procedures | Erythrocyte Sedimentation Rate | ⃝ Completed ⃝ Not available | Notes: |
|  | Reticulocyte Counts | ⃝ Completed ⃝ Not available |  |
|  | Body Fluid analysis | ⃝ Completed ⃝ Not available |  |
|  | Bone Marrow collection and smear preparation | ⃝ Completed ⃝ Not available |  |
|  | Malarial smear | ⃝ Completed ⃝ Not available |  |
|  | TEG or PFA | ⃝ Completed ⃝ Not available |  |
|  | Flow Cytometry | ⃝ Completed ⃝ Not available |  |
|  | Serology tests (Flu, HCG, Strep, etc.) | ⃝ Completed ⃝ Not available |  |
|  | Electrophoresis | ⃝ Completed ⃝ Not available |  |
|  | Additional Tests: |  |  |