## Instructions
LSLI Template Instructions
USE LSLI SHEET TO COPY AND PASTE DATA FROM 'Detailed Inventory' SHEET FROM TCEQ-20943 Detailed Inventory Add detailed service line information using the webform or Excel Template. Recommendations if using Excel Template: 1) Save a copy of the workbook to your hard drive or network drive. Consider adding the system PWS ID or other system identifier to the file name (e.g., Inventory Template_TX0000000) and indicating in the file name if this is the "initial" inventory or "update1", "update2", etc. 2) Each row in this worksheet represents one service line connecting the water main to the customer's plumbing. The worksheet is organized into sections: - Location Information - System-Owned Portion - Customer-Owned Portion - Other Potential Sources of Lead - Additional Information to Assign Tap Monitoring Tiering - Lead Service Line Replacement (LSLR) 3) Columns with aqua shading are required by the EPA LCRR. As explained in more detail on each field, entries for each field can either be selected from a dropdown menu or will require manual entry.

## LSLI
Location Information | [7 empty] | System-Owned Portion |  |  |  | Customer-Owned Portion |  |  | Entire Service Line | Other Potential Sources of Lead |  |  | Additional Information to Assign Tap Monitoring Tiering |  |  |  |  | Lead Service Line Replacement (LSLR)
Unique Service Line ID* | Street Number | Street Name* | City* | Zip Code* | Other Location Identifier | GPS Coordinate - Latitude (decimal degrees) | GPS Coordinates - Longitude (decimal degrees) | System-Owned Portion Service Line Material Classification* | If Non-Lead, Was Material Ever Previously Lead? | Service Line Installation Date | Notes | Customer-Owned Portion Service Line Material Classification* | Service Line Installation Date | Notes | Entire Service Line Material Classification (by Water System) | Is there a Lead Connector? | Is there Lead Solder in the Service Line? | List Other Fittings and Equipment Connected to the Service Line that Contain Lead | Building Type Connected to Service Line | Point-of-Entry or Point-of-Use Treatment Present? | Does the Interior Building Plumbing Contain Copper Pipes with Lead Solder Installed Before July 1, 1988? | Current LCR Sampling Site? | Sample Site Selection Criteria (Site Tier) | Date of System-Owned LSLR | Date of Customer-Owned LSLR
101 | 1249 | NORTH INTERREGIONAL HIGHWAY 35 | SAN MARCOS | 78666 |  |  |  | Non-Lead | Don't Know | Unknown |  | Non-Lead | Unknown |  | Non-Lead
102 | 1251 | NORTH INTERREGIONAL HIGHWAY 35 | SAN MARCOS | 78666 |  |  |  | Non-Lead | Don't Know | Unknown |  | Non-Lead | Unknown |  | Non-Lead
103 | 1341 | THORPE LANE | SAN MARCOS | 78666 | NEUROLOGY CLINIC CONCUSSION LAB |  |  | Non-Lead - Copper | Don't Know | Unknown |  | Non-Lead - Copper | Unknown |  | Non-Lead
104 | 1345 | THORPE LANE | SAN MARCOS | 78666 |  |  |  | Non-Lead - Copper | Don't Know | Unknown |  | Non-Lead - Copper | Unknown |  | Non-Lead
105 | 1401 | THORPE LANE | SAN MARCOS | 78666 | ACCESS SERVICES |  |  | Non-Lead | Don't Know | Unknown |  | Non-Lead | Unknown |  | Non-Lead
106 | 1901 | OLD RANCH ROAD 12 | SAN MARCOS | 78666 |  |  |  | Non-Lead | Don't Know | Unknown |  | Non-Lead | Unknown |  | Non-Lead
107 | 218 | WEST SESSOM | SAN MARCOS | 78666 |  |  |  | Non-Lead | Don't Know | Unknown |  | Non-Lead | Unknown |  | Non-Lead
108 | 400 | WEST HOPKINS | SAN MARCOS | 78666 | TX SCHOOL SAFETY CENTER |  |  | Non-Lead | Don't Know | Before 1989 |  | Non-Lead | Before 1989 |  | Non-Lead
109 | 610 | EDWARD GARY STREET | SAN MARCOS | 78666 | ACADEMIC SERVICES BUILDING NORTH |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
110 | 608 | EDWARD GARY STREET | SAN MARCOS | 78666 | ACADEMIC SERVICES BUILDING SOUTH |  |  | Non-Lead - Plastic | Don't Know | Unknown |  | Non-Lead - Plastic | Unknown |  | Non-Lead
111 | 206 | PLEASANT STREET | SAN MARCOS | 78666 | AGRICULTURE |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
112 | 701 | NORTH GUADALUPE STREET | SAN MARCOS | 78666 | ALBERT B. ALKEK LIBRARY |  |  | Non-Lead - Other | Don't Know | Before 1989 |  | Non-Lead - Other | Before 1989 |  | Non-Lead
113 | 710 | NORTH COMANCHE STREET | SAN MARCOS | 78666 | ALBERT B. ALKEK LIBRARY PARKING GARAGE |  |  | Non-Lead - Plastic | Don't Know | Between 1989 and 2014 |  | Non-Lead - Plastic | Between 1989 and 2014 |  | Non-Lead
114 | 951 | MOORE STREET | SAN MARCOS | 78666 | O'Shae Freedom Hall |  |  | Non-Lead - Plastic | Don't Know | After 2014 |  | Non-Lead - Plastic | After 2014 |  | Non-Lead
115 | 102 | STUDENT CENTER DRIVE | SAN MARCOS | 78666 | ARNOLD HALL Complex |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
116 | 703 | AQUARENA SPRINGS DRIVE | SAN MARCOS | 78666 | BAND STORAGE |  |  | Non-Lead - Plastic | Don't Know | After 2014 |  | Non-Lead - Plastic | After 2014 |  | Non-Lead
117 | 616 | NORTH LBJ STREET | SAN MARCOS | 78666 | Mesquite Hall |  |  | Galvanized | Don't Know | Before 1989 |  | Galvanized | Before 1989 |  | Galvanized Requiring Replacement
118 | 100 | LLANO CIRCLE | SAN MARCOS | 78666 | BEXAR HALL RES HALL |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
119 | 701 | MOORE STREET | SAN MARCOS | 78666 | BLANCO HALL RES HALL |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
120 | 225 | CHARLES AUSTIN DRIVE | SAN MARCOS | 78666 | BOBCAT BASEBALLSOFTBALLTicket Office |  |  | Non-Lead - Plastic | Don't Know | Between 1989 and 2014 |  | Non-Lead - Plastic | Between 1989 and 2014 |  | Non-Lead
121 | 1100 | AQUARENA SPRINGS DRIVE | SAN MARCOS | 78666 | BOBCAT STADIUM |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
122 | 240 | STADIUM DRIVE | SAN MARCOS | 78666 | BOBCAT STADIUM END ZONE COMPLEX |  |  | Non-Lead - Plastic | Don't Know | Between 1989 and 2014 |  | Non-Lead - Plastic | Between 1989 and 2014 |  | Non-Lead
123 | 1301 | AQUARENA SPRINGS DRIVE | SAN MARCOS | 78666 | BOBCAT VILLAGE Apartments |  |  | Non-Lead - Plastic | Don't Know | Between 1989 and 2014 |  | Non-Lead - Plastic | Between 1989 and 2014 |  | Non-Lead
124 | 121 | OLD MAIN DRIVE | SAN MARCOS | 78666 | BOILER PLANT |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
125 | 605 | NORTH EDWARD GARY STREET | SAN MARCOS | 78666 | BRAZOS |  |  | Galvanized | Don't Know | Before 1989 |  | Galvanized | Before 1989 |  | Galvanized Requiring Replacement
126 | 607 | NORTH EDWARD GARY STREET | SAN MARCOS | 78666 | BROGDON HALL RES HALL |  |  | Galvanized | Don't Know | Before 1989 |  | Galvanized | Before 1989 |  | Galvanized Requiring Replacement
127 | 310 | WEST WOODS STREET | SAN MARCOS | 78666 | BRUCE AND GLORIA INGRAM HALL |  |  | Non-Lead - Plastic | Don't Know | After 2014 |  | Non-Lead - Plastic | After 2014 |  | Non-Lead
128 | 500 | NORTH EDWARD GARY STREET | SAN MARCOS | 78666 | BUTLER HALL RES LIFE |  |  | Non-Lead - Other | Don't Know | Before 1989 |  | Non-Lead - Other | Before 1989 |  | Non-Lead
129 | 1351 | POST ROAD | SAN MARCOS | 78666 | CAMPUS RECREATION PAVILION |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
130 | 120 | OLD MAIN DRIVE | SAN MARCOS | 78666 | CENTENNIAL HALL |  |  | Galvanized | Don't Know | Unknown |  | Galvanized | Unknown |  | Galvanized Requiring Replacement
131 | 400 | NORTH LBJ STREET | SAN MARCOS | 78666 | CENTER FOR STUDENT RETENTION |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
132 | 150 | BUCKNER STREET | SAN MARCOS | 78666 | CENTRAL PLANT |  |  | Non-Lead - Other | Don't Know | Before 1989 |  | Non-Lead - Other | Before 1989 |  | Non-Lead
133 | 302 | STUDENT CENTER DRIVE | SAN MARCOS | 78666 | CHAUTAUQUA GAILLARDIA HOUSING COMPLEX |  |  | Non-Lead - Plastic | Don't Know | Between 1989 and 2014 |  | Non-Lead - Plastic | Between 1989 and 2014 |  | Non-Lead
134 | 202 | OLD MAIN DRIVE | SAN MARCOS | 78666 | CHEMISTRY |  |  | Non-Lead - Other | Don't Know | Before 1989 |  | Non-Lead - Other | Before 1989 |  | Non-Lead
135 | 102 | LUEDERS STREET | SAN MARCOS | 78666 | CHILD DEVELOPMENT CENTER |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
136 | 714 | NORTH COMANCHE STREET | SAN MARCOS | 78666 | COLLEGE INN RES HALL |  |  | Non-Lead - Other | Don't Know | Before 1989 |  | Non-Lead - Other | Before 1989 |  | Non-Lead
137 | 301 | EAST WOODS STREET | SAN MARCOS | 78666 | COLLEGE OF EDUCATION |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
138 | 207 | PLEASANT STREET | SAN MARCOS | 78666 | COLORADO |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
139 | 630 | NORTH LBJ STREET | SAN MARCOS | 78666 | COMAL |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
140 | 211 | EEAST WOODS STREET | SAN MARCOS | 78666 | COMMONS DINING HALL COMPLEX |  |  | Galvanized | Don't Know | Before 1989 |  | Galvanized | Before 1989 |  | Galvanized Requiring Replacement
141 | 751 | COMANCHE STREET | SAN MARCOS | 78666 | CONTAINER ACCUMULATION BUILDING |  |  | Non-Lead - Plastic | Don't Know | Between 1989 and 2014 |  | Non-Lead - Plastic | Between 1989 and 2014 |  | Non-Lead
142 | 515 | N COMANCHE STREET | SAN MARCOS | 78666 | DEPT OF HOUSING RESIDENTL LIFE OF |  |  | Non-Lead - Copper | Don't Know | Between 1989 and 2014 |  | Non-Lead - Copper | Between 1989 and 2014 |  | Non-Lead
143 | 105 | PICKARD STREET | SAN MARCOS | 78666 | DERRICK HALL |  |  | Galvanized | Don't Know | Before 1989 |  | Galvanized | Before 1989 |  | Galvanized Requiring Replacement
144 | 216 | E SESSOM DRIVE | SAN MARCOS | 78666 | EAST CHILL PLANT |  |  | Non-Lead - Other | Don't Know | Before 1989 |  | Non-Lead - Other | Before 1989 |  | Non-Lead
145 | 405 | N EDWARD GARY STREET | SAN MARCOS | 78666 | EDWARD GARY STREET GARAGE |  |  | Non-Lead - Copper | Don't Know | Between 1989 and 2014 |  | Non-Lead - Copper | Between 1989 and 2014 |  | Non-Lead
146 | 201 | TALBOT STREET | SAN MARCOS | 78666 | ELLIOTT HALL ABC |  |  | Non-Lead - Other | Don't Know | Before 1989 |  | Non-Lead - Other | Before 1989 |  | Non-Lead
147 | 708 | NORTH COMANCHE STREET | SAN MARCOS | 78666 | EMMETT MIRIAM MCCOY HALL |  |  | Non-Lead - Plastic | Don't Know | Between 1989 and 2014 |  | Non-Lead - Plastic | Between 1989 and 2014 |  | Non-Lead
148 | 712 | NORTH COMANCHE STREET | SAN MARCOS | 78666 | ENCINO HALL |  |  | Non-Lead - Other | Don't Know | Between 1989 and 2014 |  | Non-Lead - Other | Between 1989 and 2014 |  | Non-Lead
149 | 627 | NORTH LBJ STREET | SAN MARCOS | 78666 | EVANS LIBERAL ARTS |  |  | Non-Lead - Copper | Don't Know | Before 1989 |  | Non-Lead - Copper | Before 1989 |  | Non-Lead
150 | 631 | MOORE STREET | SAN MARCOS | 78666 | FALLS SAYERS HOUSING COMPLEX |  |  | Non-Lead - Plastic | Don't Know | Between 1989 and 2014 |  | Non-Lead - Plastic | Between 1989 and 2014 |  | Non-Lead
151 | 245 | WEST SESSOM DRIVE | SAN MARCOS | 78666 | FAMILY CONSUMER SCIENCES |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
152 | 224 | NORTH GUADALUPE ST | SAN MARCOS | 78666 | FIRE STATION STUDIO |  |  | Galvanized | Don't Know | Before 1989 |  | Galvanized | Before 1989 |  | Galvanized Requiring Replacement
153 | 626 | NORTH LBJ DRIVE | SAN MARCOS | 78666 | FLOWERS HALL |  |  | Non-Lead - Other | Don't Know | Before 1989 |  | Non-Lead - Other | Before 1989 |  | Non-Lead
154 | 220 | EAST SESSOM DRIVE | SAN MARCOS | 78666 | FREEMAN AQUATIC BIOLOGY |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
155 | 606 | MOORE STREET | SAN MARCOS | 78666 | GLADE OUTDOOR THEATRE |  |  | Non-Lead - Plastic | Don't Know | Unknown |  | Non-Lead - Plastic | Unknown |  | Non-Lead
156 | 302 | ED J L GREEN DRIVE | SAN MARCOS | 78666 | GRIST MILL GUEST HOUSE |  |  | Non-Lead | Don't Know | Unknown |  | Non-Lead | Unknown |  | Non-Lead
157 | 700 | MOORE STREET | SAN MARCOS | 78666 | HARRIS DINING HALL |  |  | Non-Lead - Other | Don't Know | Before 1989 |  | Non-Lead - Other | Before 1989 |  | Non-Lead
158 | 201 | HILL HOUSE CIRCLE | SAN MARCOS | 78666 | HILL HOUSE |  |  | Galvanized | Don't Know | Before 1989 |  | Galvanized | Before 1989 |  | Galvanized Requiring Replacement
159 | 201 | STATE STREET | SAN MARCOS | 78666 | HINES ACADEMIC CENTER |  |  | Non-Lead - Other | Don't Know | Before 1989 |  | Non-Lead - Other | Before 1989 |  | Non-Lead
160 | 601 | UNIVERSITY DRIVE | SAN MARCOS | 78666 | J.C. KELLAM ADMINISTRATION |  |  | Non-Lead - Other | Don't Know | Before 1989 |  | Non-Lead - Other | Before 1989 |  | Non-Lead
161 | 702 | TOMAS RIVERA DRIVE | SAN MARCOS | 78666 | JACKSON HALL RES HALL |  |  | Galvanized | Don't Know | Before 1989 |  | Galvanized | Before 1989 |  | Galvanized Requiring Replacement
162 | 706 | TOMAS RIVERA DRIVE | SAN MARCOS | 78666 | JACKSON MECHANICAL EQUIP BLDG |  |  | Galvanized | Don't Know | Before 1989 |  | Galvanized | Before 1989 |  | Galvanized Requiring Replacement
163 | 310 | VISTA STREET | SAN MARCOS | 78666 | JEROME AND CATHERINE SUPPLE SCIENCE |  |  | Non-Lead - Other | Don't Know | Between 1989 and 2014 |  | Non-Lead - Other | Between 1989 and 2014 |  | Non-Lead
164 | 233 | WEST SESSOM DRIVE | SAN MARCOS | 78666 | JOANN COLE MITTERF MITTE |  |  | Non-Lead - Plastic | Don't Know | Between 1989 and 2014 |  | Non-Lead - Plastic | Between 1989 and 2014 |  | Non-Lead
165 | 100 | WEST WOODS STREET | SAN MARCOS | 78666 | JONES DINING CENTER |  |  | Non-Lead - Other | Don't Know | Before 1989 |  | Non-Lead - Other | Before 1989 |  | Non-Lead
166 | 700 | AQUARENA SPRINGS DR | SAN MARCOS | 78666 | JOWERS CENTER |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
167 | 614 | NORTH EDWARD GARY STREET | SAN MARCOS | 78666 | LAMPASAS HALL |  |  | Non-Lead - Copper | Don't Know | Before 1989 |  | Non-Lead - Copper | Before 1989 |  | Non-Lead
168 | 501 | NORTH EDWARD GARY STREET | SAN MARCOS | 78666 | LANTANA HALL RES HALL |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
169 | 600 | NORTH LBJ STREET | SAN MARCOS | 78666 | LAUREL HALL RES HALL |  |  | Galvanized | Don't Know | Before 1989 |  | Galvanized | Before 1989 |  | Galvanized Requiring Replacement
170 | 301 | STUDENT CENTER DRIVE | SAN MARCOS | 78666 | LBJ STUDENT CENTER |  |  | Non-Lead - Other | Don't Know | Between 1989 and 2014 |  | Non-Lead - Other | Between 1989 and 2014 |  | Non-Lead
171 | 201 | PICKARD STREET | SAN MARCOS | 78666 | MATH COMPUTER SCIENCE |  |  | Non-Lead - Copper | Don't Know | Before 1989 |  | Non-Lead - Copper | Before 1989 |  | Non-Lead
172 | 206 | STUDENT CENTER DRIVE | SAN MARCOS | 78666 | MATTHEWS STREET PARKING GARAGE |  |  | Non-Lead - Copper | Don't Know | Between 1989 and 2014 |  | Non-Lead - Copper | Between 1989 and 2014 |  | Non-Lead
173 | 456 | LINDSEY STREET | SAN MARCOS | 78666 | MOELLER HOUSE |  |  | Non-Lead - Plastic | Don't Know | Unknown |  | Non-Lead - Plastic | Unknown |  | Non-Lead
174 | 101 | PLEASANT STREET | SAN MARCOS | 78666 | MUSIC |  |  | Lead | Don't Know | Before 1989 |  | Lead | Before 1989 |  | Lead
175 | 615 | NORTH LBJ DRIVE | SAN MARCOS | 78666 | NUECES |  |  | Non-Lead - Other | Don't Know | Before 1989 |  | Non-Lead - Other | Before 1989 |  | Non-Lead
176 | 250 | OLD MAIN DRIVE | SAN MARCOS | 78666 | OLD MAIN |  |  | Galvanized | Don't Know | Before 1989 |  | Galvanized | Before 1989 |  | Galvanized Requiring Replacement
177 | 310 | STADIUM DRIVE | SAN MARCOS | 78666 | PAUL AND PAT GOWENS FAMILY PAVILION |  |  | Non-Lead - Plastic | Don't Know | Between 1989 and 2014 |  | Non-Lead - Plastic | Between 1989 and 2014 |  | Non-Lead
178 | 627 | NORTH LBJ STREET | SAN MARCOS | 78666 | PAWS GO ADJACENT TO EVANS LIBERAL ARTS |  |  | Non-Lead - Copper | Don't Know | Between 1989 and 2014 |  | Non-Lead - Copper | Between 1989 and 2014 |  | Non-Lead
179 | 202 | STUDENT CENTER DRIVE | SAN MARCOS | 78666 | PARKING SERVICES |  |  | Non-Lead - Copper | Don't Know | Between 1989 and 2014 |  | Non-Lead - Copper | Between 1989 and 2014 |  | Non-Lead
180 | 201 | PLEASANT STREET | SAN MARCOS | 78666 | PECOS |  |  | Galvanized | Don't Know | Before 1989 |  | Galvanized | Before 1989 |  | Galvanized Requiring Replacement
181 | 201 | PLEASANT STREET | SAN MARCOS | 78666 | PEDERNALES |  |  | Galvanized | Don't Know | Before 1989 |  | Galvanized | Before 1989 |  | Galvanized Requiring Replacement
182 | 405 | MOON STREET | SAN MARCOS | 78666 | PERFORMING ARTS CENTER |  |  | Non-Lead - Plastic | Don't Know | Unknown |  | Non-Lead - Plastic | Unknown |  | Non-Lead
183 | 151 | EAST SESSOM DRIVE | SAN MARCOS | 78666 | PHYSICAL PLANT |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
184 | 151 | EAST SESSOM DRIVE | SAN MARCOS | 78666 | PHYSICAL PLANT |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
185 | 602 | MOORE STREET | SAN MARCOS | 78666 | RECYCLING CENTER |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
186 | 515 | NORTH STREET | SAN MARCOS | 78666 | RESEARCH GREENHOUSEHEADHOUSE |  |  | Non-Lead - Copper | Don't Know | Between 1989 and 2014 |  | Non-Lead - Copper | Between 1989 and 2014 |  | Non-Lead
187 | 221 | EAST SESSOM DRIVE | SAN MARCOS | 78666 | RESTAURANT KERBEY LANE |  |  | Galvanized | Don't Know | Unknown |  | Galvanized | Unknown |  | Galvanized Requiring Replacement
188 | 611 | NORTH LBJ STREET | SAN MARCOS | 78666 | RETAMA HALL RES HALL |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
189 | 429 | NORTH GUADALUPE STREET | SAN MARCOS | 78666 | RICHARD A CASTRO UNDERGRAD ADMIS CENTER |  |  | Galvanized | Don't Know | Before 1989 |  | Galvanized | Before 1989 |  | Galvanized Requiring Replacement
190 | 420 | NORTH FREDERICKSBURG STREET | SAN MARCOS | 78666 | RICHARD A CASTRO UNDERGRAD ADMIS CENTER |  |  | Non-Lead - Plastic | Don't Know | Between 1989 and 2014 |  | Non-Lead - Plastic | Between 1989 and 2014 |  | Non-Lead
191 | 304 | NORTH CM ALLEN PARKWAY | SAN MARCOS | 78666 | RIVER HOUSE |  |  | Non-Lead - Copper | Don't Know | Before 1989 |  | Non-Lead - Copper | Before 1989 |  | Non-Lead
192 | 205 | PLEASANT STREET | SAN MARCOS | 78666 | SABINAL |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
193 | 217 | WEST WOODS STREET | SAN MARCOS | 78666 | SAN JACINTO HALL RES HALL |  |  | Non-Lead - Plastic | Don't Know | Between 1989 and 2014 |  | Non-Lead - Plastic | Between 1989 and 2014 |  | Non-Lead
194 | 703 | ACADEMY STREET | SAN MARCOS | 78666 | SAN MARCOS HALL RES HALL |  |  | Non-Lead - Other | Don't Know | Between 1989 and 2014 |  | Non-Lead - Other | Between 1989 and 2014 |  | Non-Lead
195 | 312 | VISTA STREET | SAN MARCOS | 78666 | SCIENCE GREENHOUSE |  |  | Non-Lead - Copper | Don't Know | Between 1989 and 2014 |  | Non-Lead - Copper | Between 1989 and 2014 |  | Non-Lead
196 | 701 | AQUARENA SPRINGS DRIVE | SAN MARCOS | 78666 | SEWELL PARK NORTHCENTER |  |  | Non-Lead - Copper | Don't Know | Before 1989 |  | Non-Lead - Copper | Before 1989 |  | Non-Lead
197 | 101 | RUSSELL CIRCLE | SAN MARCOS | 78666 | SMITH HALL RES HALL COMPLEX |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
198 | 736 | OSCAR SMITH AVENUE | SAN MARCOS | 78666 | SMITH HOUSE ANNEXENVIRON SHEDSTUDIO |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
199 | 404 | NORTH LBJ DRIVE | SAN MARCOS | 78666 | SOUTH CHILL PLANT SCUP |  |  | Non-Lead - Other | Don't Know | Between 1989 and 2014 |  | Non-Lead - Other | Between 1989 and 2014 |  | Non-Lead
200 | 700 | AQUARENA SPRINGS DRIVE | SAN MARCOS | 78666 | SOUTHEAST CHILL PLANT FOR JOWERS and UEC |  |  | Non-Lead - Copper | Don't Know | After 2014 |  | Non-Lead - Copper | After 2014 |  | Non-Lead
201 | 102 | SPECK STREET | SAN MARCOS | 78666 | SPECK STREET PARKING GARAGE |  |  | Non-Lead - Copper | Don't Know | Between 1989 and 2014 |  | Non-Lead - Copper | Between 1989 and 2014 |  | Non-Lead
202 | 220 | SAN MARCOS SPRING DRIVE | SAN MARCOS | 78666 | SPRING LAKE MAINTENANCE HOUSEM |  |  | Galvanized | Don't Know | Unknown |  | Galvanized | Unknown |  | Galvanized Requiring Replacement
203 | 211 | SAN MARCOS SPRINGS DRIVE | SAN MARCOS | 78666 | SPRING LAKE HALL |  |  | Non-Lead - Copper | Don't Know | Before 1989 |  | Non-Lead - Copper | Before 1989 |  | Non-Lead
204 | 201 | SAN MARCOS SPRINGS DRIVE | SAN MARCOS | 78666 | SPRING LAKE TICKET KIOSK |  |  | Non-Lead - Plastic | Don't Know | Between 1989 and 2014 |  | Non-Lead - Plastic | Between 1989 and 2014 |  | Non-Lead
205 | 409 | NORTH EDWARD GARY STREET | SAN MARCOS | 78666 | STERRY HALL RES HALL |  |  | Non-Lead - Other | Don't Know | Before 1989 |  | Non-Lead - Other | Before 1989 |  | Non-Lead
206 | 626 | MOORE STREET | SAN MARCOS | 78666 | STRAHAN HOUSE |  |  | Galvanized | Don't Know | Before 1989 |  | Galvanized | Before 1989 |  | Galvanized Requiring Replacement
207 | 298 | STUDENT CENTER DRIVE | SAN MARCOS | 78666 | STUDENT HEALTH CENTER |  |  | Non-Lead - Other | Don't Know | Between 1989 and 2014 |  | Non-Lead - Other | Between 1989 and 2014 |  | Non-Lead
208 | 1347 | THORPE LANE | SAN MARCOS | 78666 | STUDENT HEALTH CENTER-THORPE LANE |  |  | Non-Lead - Plastic | Don't Know | Unknown |  | Non-Lead - Plastic | Unknown |  | Non-Lead
209 | 1011 | ACADEMY STREET | SAN MARCOS | 78666 | STUDENT RECREATION CENTER |  |  | Non-Lead - Other | Don't Know | Between 1989 and 2014 |  | Non-Lead - Other | Between 1989 and 2014 |  | Non-Lead
210 | 631 | NORTH LBJ STREET | SAN MARCOS | 78666 | TAYLOR-MURPHY HISTORY |  |  | Galvanized | Don't Know | Before 1989 |  | Galvanized | Before 1989 |  | Galvanized Requiring Replacement
211 | 211 | EAST SESSOM DRIVE | SAN MARCOS | 78666 | TENNIS CENTER |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
212 | 101 | WEST WOODS STREET | SAN MARCOS | 78666 | THE TOWER RES HALL |  |  | Non-Lead - Other | Don't Know | Before 1989 |  | Non-Lead - Other | Before 1989 |  | Non-Lead
213 | 430 | MOON STREET | SAN MARCOS | 78666 | THEATRE CENTER |  |  | Non-Lead - Other | Don't Know | Before 1989 |  | Non-Lead - Other | Before 1989 |  | Non-Lead
214 | 344 | WEST WOODS STREET | SAN MARCOS | 78666 | THORNTON HOUSE GARAGEInt'l House |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
215 | 1200 | AQUARENA SPRINGS DRIVE | SAN MARCOS | 78666 | TRACK FIELD TICKET OFFICE |  |  | Non-Lead - Plastic | Don't Know | Between 1989 and 2014 |  | Non-Lead - Plastic | Between 1989 and 2014 |  | Non-Lead
216 | 203 | PLEASANT STREET | SAN MARCOS | 78666 | TRINITY |  |  | Non-Lead - Other | Don't Know | Before 1989 |  | Non-Lead - Other | Before 1989 |  | Non-Lead
217 | 700 | AQUARENA SPRINGS DRIVE | SAN MARCOS | 78666 | UECJOWERS BOILER Plant |  |  | Non-Lead - Copper | Don't Know | Unknown |  | Non-Lead - Copper | Unknown |  | Non-Lead
218 | 614 | NORTH GUADALUPE STREET | SAN MARCOS | 78666 | UNDERGRADUATE ACADEMIC CENTER |  |  | Non-Lead - Copper | Don't Know | Between 1989 and 2014 |  | Non-Lead - Copper | Between 1989 and 2014 |  | Non-Lead
219 | 305 | RIVER RIDGE PARKWAY | SAN MARCOS | 78666 | UNIVERSITY DISTRIBUTION CENTER |  |  | Non-Lead | Don't Know | Between 1989 and 2014 |  | Non-Lead | Between 1989 and 2014 |  | Non-Lead
220 | 106 | CHARLES AUSTIN DRIVE | SAN MARCOS | 78666 | UNIVERSITY EVENTS CENTER |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
221 | 1727 | RANCH ROAD 12 | SAN MARCOS | 78666 | UNIVERSITY PRESSWEST PRINT SHOP |  |  | Non-Lead - Plastic | Don't Know | Unknown |  | Non-Lead - Plastic | Unknown |  | Non-Lead
222 | 700 | MOORE STREET | SAN MARCOS | 78666 | WEST PLANTHarris UG |  |  | Non-Lead - Other | Don't Know | Unknown |  | Non-Lead - Other | Unknown |  | Non-Lead
223 | 1101 | ACADEMY STREET | SAN MARCOS | 78666 | WEST SPORTS FIELDS MAINTENANCE |  |  | Non-Lead - Plastic | Don't Know | Between 1989 and 2014 |  | Non-Lead - Plastic | Between 1989 and 2014 |  | Non-Lead
224 | 101 | LUEDERS STREET | SAN MARCOS | 78666 | WILLIAM ELIZABETH ADAMSON ROTC |  |  | Galvanized | Don't Know | Before 1989 |  | Galvanized | Before 1989 |  | Galvanized Requiring Replacement
225 | 3055 | HUNTER ROAD | SAN MARCOS | 78666 | STAR PARK 1 CENTER FOR RESEARCH COMM |  |  | Non-Lead - Plastic | Don't Know | Between 1989 and 2014 |  | Non-Lead - Plastic | Between 1989 and 2014 |  | Non-Lead
226 | 250 | EAST MC CARTY | SAN MARCOS | 78666 | ARCHIVES RESEARCH |  |  | Non-Lead - Copper | Don't Know | After 2014 |  | Non-Lead - Copper | After 2014 |  | Non-Lead
227 | 3104 | PEGASUS | SAN MARCOS | 78666 | INFRASTRUCTURE RESEARCH LABORATORY |  |  | Non-Lead - Plastic | Don't Know | Between 1989 and 2014 |  | Non-Lead - Plastic | Between 1989 and 2014 |  | Non-Lead
228 | 1555 | UNIVERSITY BOULEVARD | ROUND ROCK | 78665 | AVERY BUILDING |  |  | Non-Lead | Don't Know | Between 1989 and 2014 |  | Non-Lead | Between 1989 and 2014 |  | Non-Lead
229 | 100 | BOBCAT WAY | ROUND ROCK | 78665 | ST. DAVID'S SCHOOL OF NURSING |  |  | Non-Lead - Plastic | Don't Know | Between 1989 and 2014 |  | Non-Lead - Plastic | Between 1989 and 2014 |  | Non-Lead
230 | 200 | BOBCAT WAY | ROUND ROCK | 78665 | WILLOW HALL |  |  | Non-Lead - Plastic | Don't Know | After 2014 |  | Non-Lead - Plastic | After 2014 |  | Non-Lead
231 | 100 | BOBCAT WAY | ROUND ROCK | 78665 | CAMPUS SERVICES BUILDING |  |  | Non-Lead - Copper | Don't Know | After 2014 |  | Non-Lead - Copper | After 2014 |  | Non-Lead
232 | 100 | BOBCAT WAY | ROUND ROCK | 78665 | ROUND ROCK UTILITY PLANT |  |  | Non-Lead | Don't Know | Between 1989 and 2014 |  | Non-Lead | Between 1989 and 2014 |  | Non-Lead
233 | 1000 | UNIVERSITY ROAD | WIMBERLEY | 78676 | JEFFERSONIAN LODGE |  |  | Non-Lead - Other | Don't Know | Before 1989 |  | Non-Lead - Other | Before 1989 |  | Non-Lead
234 | 1000 | UNIVERSITY ROAD | WIMBERLEY | 78676 | BATH HOUSE |  |  | Non-Lead - Other | Don't Know | Before 1989 |  | Non-Lead - Other | Before 1989 |  | Non-Lead
235 | 1000 | UNIVERSITY ROAD | WIMBERLEY | 78676 | BLUEBONNET LODGE |  |  | Non-Lead - Other | Don't Know | Before 1989 |  | Non-Lead - Other | Before 1989 |  | Non-Lead
236 | 1000 | UNIVERSITY ROAD | WIMBERLEY | 78676 | CARETAKER HOME |  |  | Non-Lead - Plastic | Don't Know | Before 1989 |  | Non-Lead - Plastic | Before 1989 |  | Non-Lead
237 | 1000 | UNIVERSITY ROAD | WIMBERLEY | 78676 | ALERRT |  |  | Non-Lead - Plastic | Don't Know | Between 1989 and 2014 |  | Non-Lead - Plastic | Between 1989 and 2014 |  | Non-Lead

## GEC Permitted Values (hidden)
Location Information | [7 empty] | System-Owned Portion |  |  |  | Customer-Owned Portion |  |  | Entire Service Line | Other Potential Sources of Lead |  |  | Additional Information to Assign Tap Monitoring Tiering |  |  |  |  | Lead Service Line Replacement (LSLR)
Unique Service Line ID* | Street Number | Street Name* | City* | Zip Code* | Other Location Identifier | GPS Coordinate - Latitude (decimal degrees) | GPS Coordinates - Longitude (decimal degrees) | System-Owned Portion Service Line Material Classification* | If Non-Lead, Was Material Ever Previously Lead? | Service Line Installation Date | Notes | Customer-Owned Portion Service Line Material Classification* | Service Line Installation Date | Notes | Entire Service Line Material Classification (by Water System) | Is there a Lead Connector? | Is there Lead Solder in the Service Line? | List Other Fittings and Equipment Connected to the Service Line that Contain Lead | Building Type Connected to Service Line | Point-of-Entry or Point-of-Use Treatment Present? | Does the Interior Building Plumbing Contain Copper Pipes with Lead Solder Installed Before July 1, 1988? | Current LCR Sampling Site? | Sample Site Selection Criteria (Site Tier) | Date of System-Owned LSLR | Date of Customer-Owned LSLR
[8 empty] | Lead | Yes | Before 1989 |  | Lead | Before 1989 |  | Lead | Yes | Yes |  | Single Family Residence | Yes | Yes | No | Tier 1
[8 empty] | Lead-Lined Galvanized | No | Between 1989 and 2014 |  | Lead-Lined Galvanized | After 2014 |  | Galvanized Requiring Replacement | No | No |  | Multiple Family Residence | No | No | Yes | Tier 2
[8 empty] | Galvanized | Don't Know | After 2014 |  | Galvanized | Between 1989 and 2014 |  | Non-Lead | Don't Know | Don't Know |  | Building | Unknown | Unknown |  | Tier 3
[8 empty] | Non-Lead - Copper |  | Unknown |  | Non-Lead - Copper | Unknown |  | Unknown |  |  |  | Other |  |  |  | Tier 4
[8 empty] | Non-Lead - Plastic |  |  |  | Non-Lead - Plastic | [10 empty] | Tier 5
[8 empty] | Non-Lead - Other |  |  |  | Non-Lead - Other
[8 empty] | Unknown - Likely Lead |  |  |  | Unknown - Likely Lead
[8 empty] | Unknown - Unlikely Lead |  |  |  | Unknown - Unlikely Lead
[8 empty] | Unknown - Material Unknown |  |  |  | Unknown - Material Unknown
[8 empty] | Non-Lead |  |  |  | Non-Lead